## Slide 1: Recent Results from the KM3NeT Neutrino Telescope
Soebur Razzaque
PPC 2025
Deadwood, South Dakota, June 23-28, 2025

## Slide 2
KM3NeT Collaboration

## Slide 3
KM3NeT Neutrino Telescopes
KM3NeT/ORCA
40 km offshore Toulon, France
Multiple sites for productions and assembly for the instruments
KM3NeT/ARCA
2 building blocks
100 km offshore Portopalo di Capo Passero, Sicily, Italy
30 km offshore Pylos, Greece

## Slide 4
Optical Modules and Detection Units
31 3” photo-multiplier tubes per Digital Optical Module (DOM)
18 DOMs per Detection Unit (DU)
Each DU is unraveled before reaching the sea floor

## Slide 5
1 Gigaton
230 Detection Units
18 DOMs / DU
33 DUs deployed
> Tens of GeV
800 m
3500 m
KM3NeT ORCA and ARCA
7 Megaton
115 Detection Units
18 DOMs / DU
28 DUs deployed
> Few GeV
2450 m
200 m
ORCA
ARCA
Expected completions of ORCA and ARCA by the end of the decade
More than 1600 DOMs already integrated (~25%)

## Slide 6
n Signatures in the Telescopes

## Slide 7
Detector Performance
Angular resolution
ORCA
Energy resolution νμ-CC
Energy resolution νe-CC
EPJC 82 (2022) 26
ARCA Tracks: and ; at TeV
Showers: and ; at TeV
Notes: The energy resolution is Gaussian-like with ΔE/E ≈ 25% for νe CC events with Eν = 10 GeV
For νμ CC, the resolution on the neutrino energy levels off at ΔE/E ≈ 35% as the reconstructed muon track tends not to be fully contained inside the instrumented volume.
At Eν = 10 GeV, the median neutrino direction resolution is 9.3◦/7.0◦/8.3◦/6.5◦ for νe/νe/νμ/νμ CC events, respectively.
a sample of about 66,000 upgoing neutrinos per year, corresponding to a rate of about 2 mHz, will be detected and can be used for further analysis. In addition, about 0.4 Hz of noise events and 0.1 Hz of atmospheric muon events pass the preselection criteria.
The neutrino direction resolution is dominated by the intrinsic ν–lepton scattering kinematics [40], resulting in better resolutions for ν CC than for ν CC due to the smaller Bjorken-y.

## Slide 8
KM3NeT Science
Supernova
Solar flares
Few to tens of MeV
Few to tens of GeV
Atmospheric neutrinos
Oscillations
Mass ordering
Sterile n, NSI, … etc.
Tens of GeV to TeV
TeV and above
Additionally, oceanography, biology, bioacoustics, seismology,…
Dark matter
Monopoles,
Nuclearites,…
Cosmic neutrinos - Astronomy
Cosmic rays
Origin and production mechanism of HE CR
✅
✅
See talk by Sara Rebecca Gozzini

## Slide 9: The KM3NeT Infrastructure
Bioluminescence
Bioacoustics
Seabed exploration
Geosciences
Environnemental
Monitoring
9
Example of the KM3NeT/ORCA Site
Multi-Disciplinary Deep-Sea Observatory

## Slide 10: n Oscillation Physics with ORCA

## Slide 11
Atmospheric Neutrino Flux
arXiv:2504.09119
The first KM3NeT measurement of atmospheric neutrino flux
- Consistent with world data
n-like

## Slide 12
Oscillations of Atmospheric n
Mantle-core-mantle
12
NH
IH
Disappearance
Appearance
Mantle

## Slide 13
Neutrino Oscillograms
Equal probability contours in the energy vs. zenith angle plane
Akhmedov, S.R. & Smirnov JHEP 02 (2013) 082
JHEP 07 (2013) 026 (erratum)
Sensitivity to mass-ordering in the few GeV – 10 GeV range in the disappearance channel

## Slide 14
Available Data from ORCA
Already collected more than 2.7 Mt-y of data
Presenting results from latest analysis covering 715 kt-y (27% of available data)
Expect to update these results very soon with at least 1.5 Mt-y
Rapid progress!

## Slide 15
Oscillation Results with ORCA 6-11
Oscillation pattern is clearly seen in L/E
Slight preference for Inverted Ordering (IO)
Fully consistent with world data
ORCA6 only results: JHEP 10 (2024) 206

## Slide 16
Projected Results for Full ORCA
EPJC 82 (2022) 1, 26
115 DUs (ORCA 115) and Three years
NO
IO
Notes: Expected measurement precision of Δm2_32 and θ23 for both NO (a) and IO (b) after 3 years of data taking at 90% confidence level (red)

## Slide 17
Prospect for n Mass Ordering
ORCA115 and Three years
2.5-5 s determination possible
> 4σ determination within reach by 2030
ORCA115 and JUNO
JHEP 03 (2022) 055
EPJC 82 (2022) 1, 26
Notes: Under three assumptions for the δCP value: the world best fit point for NO, IO reported in Table 2 (plain line), 0◦ (dotted line) or 180◦ (dashed line). The coloured shaded areas represent the sensitivity that 68% of the experiment realisation would yield, according to the Asimov approach.

## Slide 18: Astrophysics with ARCA

## Slide 19
KM3-230213A: The event on 13 February 2023
Nature 638 (2025) 8050, 376

## Slide 20
KM3-230213A Detection by ARCA21

## Slide 21
KM3-230213A Detection by ARCA21
The event was observed with a huge amount of light
3672 PMTs (35%) were triggered in the detector
Based on simulations, muon energy estimated at 120−60+110 PeV
Horizontal event (0.6°above horizon) as expected since earth opaque to neutrinos at PeV scale
events per year within of the reconstructed direction from backgrounds
Backgrounds
Nature 638 (2025) 8050, 376
PMT hit distributions
Notes: The white solid (dashed) lines mark the boundary
of the phase-space outside which 5%(1%) of the muon and neutrino distributions are contained. KM3- 230213A is shown as a white cross.
Given the reconstructed energy and direction, the probability that the muon
originated from a cosmic ray interacting in the atmosphere is negligible (≪ 10−10 per year). The muon
would indeed need to traverse 309 km water-equivalent of material, which exceeds the maximal range
of any atmospheric muon (≤ 60 km water-equivalent for 100 EeV muons).
Atmospheric neutrinos could
reach the detector, but their number decreases significantly above PeV energies. The expected rate of
atmospheric neutrinos above 100 PeV is of the order of (1−5)°ø10−5 events per year. The conclusion is
that the muon is most likely produced by a neutrino of cosmic origin. More details on the background
estimation are provided in Methods.

## Slide 22
KM3-230213A: Direction
Sicile
Malte
KM3NeT
ARCA
Azimut : 260°
Elévation : 0.6°

## Slide 23
Diffuse Astrophysical Flux after KM3-230213A
Assuming an flux, we estimate:
and
Nature 638 (2025) 8050, 376
Previous highest
energy neutrino

## Slide 24
Diffuse Flux within the Global Landscape
We perform a joint fit between KM3NeT, IceCube, and Auger in the energy window of KM3-230213A
Joint fit flux:
KM3NeT-only fit flux:
arxiv:2502.08173

## Slide 25: What is the origin of KM3-230213A?

## Slide 26
Source hypothesis: Galactic origin
arXiv:2502.08387
Low flux from Galactic diffuse emission and lack of potential cosmic ray accelerators along
KM3-230213A direction ⟹ Galactic origin unlikely

## Slide 27
Source hypothesis: Blazar origin
Blazars are a promising extragalactic source of cosmic neutrinos
17 candidate blazar sources are identified within the 99% C.L. window in celestial coordinates
A few interesting candidates in temporal coincidence; largest pre-trial significance is
arXiv:2502.08484
At this time, however, KM3-230213A cannot be conclusively associated with an episode of enhanced multiwavelength emission from a blazar

## Slide 28
νμ
Photon
2.5K Cosmic Microwave Background
Proton
E=1020 eV
Neutron
π+
μ+
e+
νμ
νe
Proton
e−
νe
Additional proton component
Source hypothesis: Cosmogenic origin
Cosmic ray source redshift evolution parameterized by , where
nearby sources dominate, intermediate-mass CR composition at source, lower cosmogenic neutrino flux
distant sources dominate, heavier-mass CR composition at source, higher cosmogenic neutrino flux
An additional subdominant proton component can enhance the cosmogenic neutrino flux at the highest energies
ApJL 984 (2025) 2, L41

## Slide 29
Constraints on Lorentz Invariance Violation
A superluminal neutrino would quickly loose energy via
Decay width (lifetime) given by where
The distance to KM3-230213A is unknown. We constrain d based on a conservative (> 12 kpc) and a likely (> 1 Mpc) distance estimate. This already gives the most-stringent constraint to date on d
arXiv:2502.12070
Coleman & Glashow 2011

## Slide 30
Summary
KM3NeT has been taking high quality data during construction phase
  ARCA/ORCA combination covers a huge energy range (few GeV and above)
  Good angular resolution holds promise for precision astronomy
  Also works as a marine observatory for environmental sciences
  Growing rapidly!
Oscillation physics results are coming along
  Competitive measurement of sin2q23 and Δm231
  Determination of neutrino mass ordering towards the end of the decade
  Constraints on BSM physics (not covered in this talk)
An exceptional ~ 200 PeV neutrino event detected
  Extends the known diffuse astrophysical neutrino spectrum by a factor ~ 30
  No obvious astrophysical source but a lot of ongoing theoretical and follow-up activities
  Sky localization can be improved retroactively
Stay tuned for more results!
Thank you!

## Slide 31: Backup Slides

## Slide 32
ORCA Event Classification
Boosted Decision Trees to classify events reconstructed quantities into background scores
Three classes – (1) High purity tracks, (2) low purity tracks, and (3) showers
Excellent agreement between data and simulation for neutrinos and atmospheric muons
High purity
Low purity
Showers
Tracks

## Slide 33
ORCA Class Definitions

## Slide 34
ORCA Event Selection
9751 neutrino candidates with similar numbers in each class
97% pure nm-CC sample in high purity track-like class
91% accuracy in classifying ne-CC events as showers
Approximately 1300 ne-CC events expected in shower-like sample

## Slide 35
ORCA Systematic Uncertainties
sin2q23 dominated by statistics
Δm231 impacted mostly by uncertainty on energy scale
Uncertainties on water properties dominate

## Slide 36
Mass Ordering Significance
Conversion from -2logL to p-value depends on choice of nuisance parameters
At NuFIT5.0 best fit, NO hypothesis disfavored at 1.7s/ 1.5s in (UO/LO)
IO preference slightly stronger than expected (18%/21% p-value in UO/LO)
Working towards a more general statement as a function of sin2q23

## Slide 37
Tau Neutrinos in ORCA
ORCA will have a significant sample of tau neutrinos
Already competitive with world measurements
arXiv:2502.01443
Notes: The measured ντ cross section σ meas τ is related to the theoretical expectation value σ th τ used in the Monte Carlo simulation [31] through an energy independent scale factor Sτ , defined as σ meas τ (Eν) = Sτ × σ th τ (Eν)

## Slide 38
Constraints on Non-Unitary Mixing
From tau neutrinos we may also learn more about unitarity of PMNS matrix
Some first constraints compatible with unitarity
Slight preference for non-unitarity in some combinations of parameters
arXiv:2502.01443

## Slide 39
Constraints on BSM Physics
Non-Standard Interactions
JCAP 02 (2025), 073
Decoherence
JCAP 03 (2025), 039
Neutrino Decay
JHEP 04 (2025), 105

## Slide 40
Search for Diffuse Astrophysical Flux
IceCube
π0 model
best-fit flux
IceCube
KRAγ5 best-fit flux
ANTARES
best-fit flux
UL from Galactic Plane with ARCA
UL from Full Sky with ARCA
432 days
641 days
KM3NeT/ARCA is rapidly approaching ANTARES/IceCube sensitivities
Notes: |l| < 31°and |b| < 5°for KM3NeT/ARCA6-8 and
|l| < 31°and |b| < 4°for KM3NeT/ARCA19-21

## Slide 41
KM3-230213A Energy Estimate
Cherenkov Light profile is consistent with at least 3 large energy depositions along the muon track
Characteristic of stochastic losses from very high energy muons
Space-time distribution of light consistent with shower hypothesis associated with these energy depositions
Low scattering is key to observing this richness of detail

## Slide 42
KM3-230213A Energy Estimate
Energy of the muon estimated from simulations at fixed energies
Error dominated by intrinsic fluctuations in light yield
Dominant systematic is the uncertainty on the water absorption length
Assuming a E-2 flux, neutrino energy is estimated at 220−110+570 PeV
Notes: The dominant uncertainties are now radiative corrections to the pair production loss and the nuclear structure function parametrization and shadowing effect. For the energy estimation inside VLVνT the dominant uncertainty are the radiative corrections to pair production, whose magnitude has been estimated in this work. Uncertainties have decreased in recent years due to improved parametrizations and calculation of radiative corrections.