## Slide 1: AMoRE Searching for 0n bb decay of 100Mo
Jungho So on behalf of AMoRE collaboration

## Slide 2: Neutrinoless Double Beta Decay
2n bb decay
2nd order beta decay
Rare nuclear decay
>1018 years of half life
0n bb decay
Massive n
Majorana particle
Extended SM model
>1025 year of half life
(Z, A) → (Z+2, A) + 2e- + 2anti-ne (DL = 0, conserved)
(Z, A) → (Z+2, A) + 2e- (DL = 2, violated)
0n DBD is forbidden by Standard Model for lepton number violation.
Majorana n can be confirmed (unique experimental approach)
Absolute mass of n

## Slide 3: 0n bb decay Exps.
Phase space factor (~Qbb5)
Higher Q-value is better to achieve zero background experiment
Phys. Rev. Lett. 109, 042501 (2012)
Candidates | Qbb(MeV) | N.A. (%)
48Ca→48Ti | 4.268 | 0.187
76Ge→76Se | 2.039 | 7.8
82Se→82Kr | 2.998 | 8.8
96Zr→96Mo | 3.356 | 2.8
100Mo→100Ru | 3.034 | 9.7
110Pd→110Cd | 2.017 | 11.7
116Cd→116Sn | 2.813 | 7.5
124Sn →124Te | 2.293 | 5.8
130Te→130Xe | 2.528 | 34.1
136Xe→136Ba | 2.458 | 8.9
150Nd→150Sm | 3.371 | 5.6

## Slide 4: 0n bb decay Exps.
Nuclear Matrix Element
Large uncertainty, model dependent
Motivate searching for various isotopes
Ref. Annu. Rev. Nucl. Part. Sci. 2019. 69:219–51
100Mo is one of the best candidate
Candidates | Qbb(MeV) | N.A. (%)
48Ca→48Ti | 4.268 | 0.187
76Ge→76Se | 2.039 | 7.8
82Se→82Kr | 2.998 | 8.8
96Zr→96Mo | 3.356 | 2.8
100Mo→100Ru | 3.034 | 9.7
110Pd→110Cd | 2.017 | 11.7
116Cd→116Sn | 2.813 | 7.5
124Sn →124Te | 2.293 | 5.8
130Te→130Xe | 2.528 | 34.1
136Xe→136Ba | 2.458 | 8.9
150Nd→150Sm | 3.371 | 5.6

## Slide 5: 0n bb decay Exps.
GERDA, MAJORANA
Ge crystal
CUPID-0
ZnSe scintillating crystal
CUORE
TeO2 crystal
Aurora
CdWO4 crystal
EXO, KamLAND-Zen
Liquid Xe
Candidates | Qbb(MeV) | N.A. (%)
48Ca→48Ti | 4.268 | 0.187
76Ge→76Se | 2.039 | 7.8
82Se→82Kr | 2.998 | 8.8
96Zr→96Mo | 3.356 | 2.8
100Mo→100Ru | 3.034 | 9.7
110Pd→110Cd | 2.017 | 11.7
116Cd→116Sn | 2.813 | 7.5
124Sn →124Te | 2.293 | 5.8
130Te→130Xe | 2.528 | 34.1
136Xe→136Ba | 2.458 | 8.9
150Nd→150Sm | 3.371 | 5.6
CANDLE
CaF scintillating crystal

## Slide 6: Why 100Mo?
Candidates | Qbb(MeV) | N.A. (%)
48Ca→48Ti | 4.268 | 0.187
76Ge→76Se | 2.040 | 7.8
82Se→82Kr | 2.995 | 8.8
96Zr→96Mo | 3.350 | 2.8
100Mo→100Ru | 3.034 | 9.7
110Pd→110Cd | 2.013 | 11.7
116Cd→116Sn | 2.802 | 7.5
124Sn →124Te | 2.228 | 5.8
130Te→130Xe | 2.533 | 34.1
136Xe→136Ba | 2.479 | 8.9
150Nd→150Sm | 3.367 | 5.6
One of the largest Q-value
  High decay probability
  Efficient background suppression, but….
Calorimetric experiment using molybdate scintillator
Availability of enriched 100Mo in 0.1 tone ~ 1 tone scale
  High natural abundance : 9.7 %
  Enrichment by gas centrifuge method

## Slide 7: Zero background experiment
When b = 0,
DE : Detector performance
b : events in ROI
e : Detection efficiency
Goal : Zero background experiment
ckky
counts/ (keV kg year)
AMoRE-10kg
AMoRE-200kg
M = mass of detector in kg,
A = mass number of candidate isotope
a = bb isotope concentration (Enrichment),
T = measured time in years
ckky
ckky
Zero background, large mass, long time measurement
Quite challenging experiment

## Slide 8: Detection technique of AMoRE
Crystal scintillator (source = detector)
MMC (low temp. detector)
Photon detector (Light)
Phonon detector (Heat)
Crystal 4
DP by PSD : 12.5
Crystal 5
DP by PSD : 9.64
Crystal 2
DP by PSD : 6.22
Crystal 3
DP by PSD : 4.12

## Slide 9: MoO3 based Crystal Scintillators
 | Inter. BG | LY at 10 K (%) | Density (g/cm3) | Melt. Point (℃) | Hygroscopic
CaMoO4 | High (48Ca) | 100 | 4.2 | ~1450 | No
Li2MoO4 | Lower | 5 | 3.0 | ~700 | Middle
PbMoO4 | Under study (210Pb) | 10 | 6.8 | ~1065 | No
Na2Mo2O7 | Under study | 140 | 3.7 | ~600 | Weak
CaMoO4
Li2MoO4
PbMoO4
Na2Mo2O7

## Slide 10: Purification of Raw powders
100MoO3
sublimation under low vacuum
5 kg/month purification capacity by Center for Underground Physics(IBS)
Li2CO3
Wet chemistry and column chromatography
5.5 kg/month purification capacity by CUP(IBS)
experiment # | Al, ppb | K, ppb | Cr, ppb | Mn, ppb | Fe, ppb | Ni, ppb | Cu, ppb | W, ppb | Sr, ppb | Ba, ppb | Pb, ppb | Th, ppt | U, ppt
Raw 100MoO3 powder (lot #3497) | 1399 | 938 | <300 | <30 | 504 | 1073 | <200 | 670 | 4 | 11 | 4.0 | 70 | 257
Purified products (examples) |  |  |  |  |  |  |  |  |  |  |  |  | 
1 | 585 | 409 | <200 | <30 | 39 | <20 | <200 | 33 | <0.15 | 3.9 | 0.33 | <10 | <7
11 | 630 | 253 | <400 | <30 | 26 | <20 | <200 | 43 | <0.20 | <3.0 | <0.20 | <9 | <6
21 | <30 | 246 | <200 | <30 | 33 | <20 | <200 | 38 | <0.15 | <3.0 | <0.5 | <10 | <7
31 | <30 | 150 | <200 | <30 | 26 | <20 | <200 | 648 | <0.15 | <3.0 | <0.5 | <10 | <7
51 | <100 | 146 | <200 | <30 | 18 | <20 | <200 | 601 | <0.15 | <3.0 | <0.4 | <10 | <7
sample | 40K, mBq/kg | 228Ac, mBq/kg | 228Th, mBq/kg | 226Ra, mBq/kg | K, ppb | Sr, ppb | Ba, ppb | Pb, ppt | Th, ppt | U, ppt
Li2CO3 | HPGe@CUP |  |  |  | ICP-MS@CUP |  |  |  |  | 
Initial material | <16.59 | 6.33  1.28 | 5.47 0.67 | 57.38  3.15 | 426 | 6 | 35 | 1397 | 8 | 156
PURIFIED powder | <6.02 | <1.96 | <1.86 | <1.1 | <60 | 0.5 | 61 | <80 | <6 | <6

## Slide 11: Crystal growth at IBS (Li2MoO4)
Two Czochralski setups at IBS (one more under preparation)
Purified Li2CO3 and 100MoO3 powders for growing
Total 17.4 kg of Li2MoO4 crystals in 2021 (after cut and polishing ~ 6.7 kg)
50(D) mm X 50(H) mm
~ 300 g

## Slide 12
AMoRE-pilot Ref. EPJC (2019) 79:791
Period : 2015 ~ 2018
Detector : 48depCa100MoO4 (6 crystals, ~1.9 kg)
Technique : Metallic Magnetic Calorimeters
Exposures : 111 kg∙days
Half-life limit : 9.5 x 1022 years (90% C.L.)
Effective Majorana n mass : < 1.2 ~ 2.1 eV (gA = 1.27)
Y2L (~700m)
IBS HQ
~3 hours drive
AMoRE
Neutrinoless double beta decay of 100Mo
Q0nbb of 100Mo : 3,034 keV
Final half life limit updated
3.4 x 1023 years (90% C.L.)

## Slide 13
AMoRE-I (on going)
Time schedule : 2021 ~ 2023
Detector (6.2 kg)
  - 48depCa100MoO4 (13 crystals, ~4.6 kg)
  - Li2100MoO4 (5 crystals, ~1.6 kg)
Technique : Metallic Magnetic Calorimeters
Background requirement : < 10-2 ckky
Sensitivity goal : 7.0 x 1024 year <mbb> : 140~270 meV
Y2L (~700m)
IBS HQ
~3 hours drive
AMoRE
Neutrinoless double beta decay of 100Mo

## Slide 14
AMoRE-I (on going)
Y2L (~700m)
IBS HQ
~3 hours drive
AMoRE
Neutrinoless double beta decay of 100Mo
2.9-3.1 MeV | CMO | LMO | Total
# of bkg. events | 21 | 6 | 27
ckky | 0.049 | 0.031 | 0.044
Preliminary
The background is dominated by the 2n bb decay of 100Mo.

## Slide 15
Y2L (~700m)
IBS HQ
~3 hours drive
AMoRE
Neutrinoless double beta decay of 100Mo
AMoRE-pilot (2019)
BG level in ROI : 0.45 ckky
AMoRE-I (2022)
BG level in ROI : 0.044 ckky
10 times lower
Q0nbb of 100Mo : 3,034 keV
Q0nbb of 100Mo : 3,034 keV

## Slide 16
AMoRE-II
Time schedule : 2023 ~ 2027
Detector : Li2100MoO4 (~700 crystals, 200 kg)
Technique : Metallic Magnetic Calorimeters
Background requirement : < 10-4 ckky
Sensitivity goal : 8.0 x 1026 year, <mbb> : 13~23 meV
Yemilab (~1000m)
IBS HQ
~2.5 hours drive
AMoRE
Neutrinoless double beta decay of 100Mo
b=1 x 10-3 ckky
b=1 x 10-4 ckky
(requirement)
b=1 x 10-5 ckky
(goal)
AMoRE-II exposure

## Slide 17: Yemilab (new underground lab)
782m long
4. Ground office
Up to 5 people
4 m/s, 150 sec
Shaft
Ref. Inter. Jour. Mod. Phys. A Vol. 32, No. 30 (2017) 1743001
Access tunnel by car (782 m)
Ramp way
~30 min by car
Yemilab

## Slide 18: Yemilab (Construction)
Radon Reduction System
∙ Target level : ~20 mBq/m3
∙ Supply capacity : 50 m3/h
∙ No PCW requirement
∙ Humidity < 2,000 ppm
Refuge space
Yemilab entrance

## Slide 19: New Radon Reduction System
100 cmh
100 cmh
User
Dual line supply : 200 cmh
Single line supply : 100 cmh
Active charcoal tank
Air receiver
tank
Air Comp. #2
Air Comp. #1
Dryer #1
Dryer #2
Cold Trap
Chiller #1
Chiller #2

## Slide 20: AMoRE-II cavern
Construction until September 2022
Preparation room
100 class
Detector room
10,000 class
Changing room
10,000 class

## Slide 21: AMoRE-II Shielding

## Slide 22: Detector modules for AMoRE-II
SQUID & MMC sensor (Light)
Light absorber (Si wafer)
Top
Bottom
SQUID & MMC sensor (Heat)
Phonon collector Au film diameter 14mm Thickness 300nm
Crystal supporter(Teflon)
90 modules for the 1st stage : ~ 27 kg of Li2MoO4 crystals

## Slide 23: Cryostat for AMoRE-II
New cryostat for
AMoRE-II
Cryostat for
AMoRE-pilot and I
Inner 1000 mm
Outer 1300 mm
Outer 650 mm
Inner 408 mm
1 mW @ 100 mK, 7 mW @ 10 mK
Cooling test : 6 days using LN2 precooling
Vibration, wiring and further tests at IBS HQ now
Planning to move Yemilab late this year.
Single Pulse tube
Triple Pulse tubes
4 K
10 mK
Leiden, customized

## Slide 24: Material assay (HPGe)
100% HPGe Canberra
Dedicated Shielding System Top & bottom: Pb (10 cm)+Cu (10 cm) Side: Pb (15 cm)+Cu (10 cm) Inner : Greek Ancient lead 5 cm
Net count rate of background (50~4000 keV)
100% HPGe Canberra
Dedicated Shielding System Normal Pb(10 cm) + Goslar Pb(10 cm) + Cu(10 cm)
Net count rate of background (50~3500 keV)
mHz | 2015 | 2018 | 2019 | 2020 | 2021
> 50 keV | 8.1 | 7.9 | 7.8 | 7.9 | 8.0
mHz | 2017 | 2018 | 2019 | 2020 | 2021
> 50 keV | 9.5 | 7.9 | 6.8 | 6.2 | 6.1

## Slide 25: 14ch array HPGe
Total 980 % (14ch, 70% each)
Larger sample capacity. (MoO3 powder)
Radon reduced air environment.
High dense material assay (Cu, Pb)
Rare process search
  - 50V, 2n bb decay 100Mo, 180Ta metastable
Ref.
NIMA 992 (2021) 165020
# Background rate (2021)
- Single hit : 90.4 ± 0.3 [event/kg/day]
- Double hit : 5.74 ± 0.07 [event/kg/day]

## Slide 26: Material assay (a counter, ICP-MS)
Lowest level of emissivity : 1.7 ± 0.7tot × 10-4 counts/cm2/hr
FWHM resolution ~ 10%
5.3 MeV (210Po)
Operating in Y2L
Multi ch. Silicon a counter
Better for thick samples
Need to reduce the self BG
Next year at Yemilab

## Slide 27: Background requirements for AMoRE-II
AMoRE-II requirements
Lots of samples have been measured.
Cross check between different methods.
Continued for future experiments.
Each parts

## Slide 28: Geant4 simulation of the AMoRE-II
Lead shield gamma
Rock gamma
Detector modules
Sim. Geometry
BG sources | BG in ROI (x 10-5 counts/keV kg yr)
Cosmic muons | 0.275 ± 0.0159
Radiogenic neutrons | 0.301 ± 0.0107
Rock gammas (238U) | < 1.03 (90% C.L.)
Lead Shield (238U) | 0.994 ± 0.0495
Clamps | 0.65
Total BG rate in ROI | 3.25 ± 0.0761
Geant4 result : ~ 10-5 ckky in ROI (meet goal)
Keep update BG assay & M.C. simulation.

## Slide 29: Summary
Yemilab is under construction for the future underground experiments.
  - AMoRE-II will be the first experiment in Yemilab.
AMoRE-II construction is on going for the hundreds kg scale.
  - 90 Li2100MoO4 crystals (~27 kg) will be installed early of next year (2023).
AMoRE-II (Yemilab), beyond the AMoRE-I (Y2L) is coming soon!!!